## Slide 1: GMLC 1.4.23 Adaptive control of inverters to restabilize distribution-network voltage after a cyberattack
Daniel Arnold dbarnold@lbl.gov
Shammya Saha shammya.saha@asu.edu
Nathan Tsang nathan_tsang@lbl.gov
Sean Peisert sppeisert@lbl.gov
August 15th, 2018

## Slide 2: Overview
Simulation flow diagram
Cyberattack modeling
Results

## Slide 3: Simulation flow diagram
instability observer
HPF
x²
LPF
adaptive controller
psik
epk
filtVoltk
Vk-1
psik-1
epk-1
filtVoltk-1
evaluate
threshold
uk
uk-d
Vk-d
Vk
Volt-VAR; Volt-Watt
Vk
Inverter model
evaluate
LPF
Vk-d
Vk-1
VBPk
pk
qk
power flow
loadsk
Z
V0k
evaluate
Vk+1
delay
k-1
k
VBPk-d

## Slide 4
Cyberattack modeling
cyberattack
hacked inverters
not-hacked inverters
X
X
business as usual
Vk
sk
sk
α
1-α
power flow

## Slide 5
1
2
3
5
4
6
7
8
9
10
11
12
13
Not compromised
Compromised*
*meaning 1-100% of inverters are compromised
IEEE 34 bus feeder

## Slide 6
Scenario 1: no hack
Nodes with compromised inverters:
Percent hacked: 0%
Time step of hack: n/a
Load scaling factor: 1.5
Generation scaling factor: 5
Slack bus voltage: 1.04
Gain: 100
Delay: 10 / 60 seconds
VBP (uncompromised – initial): 1.01, 1.03, 1.03, 1.05
VBP (compromised): 1.01, 1.015, 1.015, 1.02

## Slide 7
Scenario 2: 10% hacked at each node
Nodes with compromised inverters: 822, 822m, 824, 826, 826m, 828, 828m, 830, 834, 836, 838, 838m, 840
Percent hacked: 10%
Time step of hack: 300
Load scaling factor: 1.5
Generation scaling factor: 5
Slack bus voltage: 1.04
Gain: 100
Delay: 10 / 60 seconds
VBP (uncompromised – initial): 1.01, 1.03, 1.03, 1.05
VBP (compromised): 1.01, 1.015, 1.015, 1.02

## Slide 8
Scenario 3: 50% hacked at each node
Nodes with compromised inverters: 822, 822m, 824, 826, 826m, 828, 828m, 830, 834, 836, 838, 838m, 840
Percent hacked: 50%
Time step of hack: 300
Load scaling factor: 1.5
Generation scaling factor: 5
Slack bus voltage: 1.04
Gain: 100
Delay: 10 / 60 seconds
VBP (uncompromised – initial): 1.01, 1.03, 1.03, 1.05
VBP (compromised): 1.01, 1.015, 1.015, 1.02

## Slide 9
Scenario 4: 50% hacked at each node
Nodes with compromised inverters: 822, 822m, 824, 826, 826m, 828, 828m, 830, 834, 836, 838, 838m, 840
Percent hacked: 50%
Time step of hack: 300
Load scaling factor: 1.5
Generation scaling factor: 6
Slack bus voltage: 1.02
Gain: 100
Delay: 10 / 60 seconds
VBP (uncompromised – initial): 1.01, 1.03, 1.03, 1.05
VBP (compromised): 1.01, 1.015, 1.015, 1.02

## Slide 10
Scenario 5: 20% hacked along main lateral
Nodes with compromised inverters: 824, 828, 828m, 830, 834, 836, 840
Percent hacked: 20%
Time step of hack: 300
Load scaling factor: 1.5
Generation scaling factor: 5
Slack bus voltage: 1.04
Gain: 100
Delay: 10 / 60 seconds
VBP (uncompromised – initial): 1.01, 1.03, 1.03, 1.05
VBP (compromised): 1.01, 1.015, 1.015, 1.02

## Slide 11
Scenario 6: 50% hacked along main lateral
Nodes with compromised inverters: 824, 828, 828m, 830, 834, 836, 840
Percent hacked: 50%
Time step of hack: 300
Load scaling factor: 1.5
Generation scaling factor: 5
Slack bus voltage: 1.04
Gain: 100
Delay: 10 / 60 seconds
VBP (uncompromised – initial): 1.01, 1.03, 1.03, 1.05
VBP (compromised): 1.01, 1.015, 1.015, 1.02

## Slide 12
Scenario 7: 100% hacked at terminal
Nodes with compromised inverters: 836, 838, 838m, 840 Percent hacked: 100%
Time step of hack: 300
Load scaling factor: 1.5
Generation scaling factor: 5
Slack bus voltage: 1.04
Gain: 100
Delay: 10 / 60 seconds
VBP (uncompromised – initial): 1.01, 1.03, 1.03, 1.05
VBP (compromised): 1.01, 1.015, 1.015, 1.02

## Slide 13
Scenario 8: 100% hacked (7 random nodes)
Nodes with compromised inverters: 822, 824, 826m, 830, 834, 836, 838m
Percent hacked: 100%
Time step of hack: 300
Load scaling factor: 1.5
Generation scaling factor: 5
Slack bus voltage: 1.04
Gain: 100
Delay: 10 / 60 seconds
VBP (uncompromised – initial): 1.01, 1.03, 1.03, 1.05
VBP (compromised): 1.01, 1.015, 1.015, 1.02